BOILING POINTS & DISTILLATION - SEPARATION OF LIQUIDS

REFERENCES: Organic Laboratory Techniques, 2nd Ed., Fessenden and Fessenden

Simple Distillation: Technique 5, 5.1 & 5.2 pp.94-108

Fractional Distillation: Technique 6,6.1 & 6.2, pp.109-113

Heating Mantles: p. 31

Introduction to Organic Laboratory Techniques, 3rd Ed., Pavia, Lampman and Kriz

Boiling Points, Simple Distillation: Technique 6, 6.1, 6.3, 		  6.4: pp. 551-558

Fractional Distillation: Technique 7, 7.1, 7.4 - 7.6:  pp. 		  565-575

Heating Mantles, 1.5: pp. 508-509

Boiling Stones, 1.6: pp. 511-512

OBJECTIVES:  The student should be able to:

1.   Set up a distillation apparatus

2.   Separate a two component system by simple distillation

3.   Determine whether separation of the two liquids occurred

4.   Determine the percent recovery of the two liquids

5.   Determine the efficiency of the separation

INTRODUCTION:

Boiling Point: The boiling point of a liquid is the temperature at which its vapor pressure becomes equal to the ambient pressure, usually atmospheric pressure.  The boiling point is an intrinsic property of a liquid and is important in the identification of a substance; it is easily determined.

In actual practice the boiling point (more properly, the boiling point range) is usually obtained during the distillation of the substance, a distillation being the usual last step in the separation and purification of a liquid.

Distillation:  Distillation consists of the conversion of a liquid to the gas phase, then condensation of the gas phase back to the liquid with the collection of this liquid in a separate container.  By placing a thermometer in the vapor, the boiling point of the liquid being collected is determined.  Note that this temperature is the boiling point of the condensate, not of the boiling liquid in the "pot".

Distillation of a Pure Liquid:  If a pure liquid is being distilled, there will be no change in composition during distillation and the boiling point will be constant.  In actual practice, some difference is almost always found between the initial and final temperature;  boiling "points", like melting "points", should be recorded as a temperature range.  Since the boiling point depends upon the pressure, the pressure at which the distillation is made must also be recorded;  if no pressure is specified, it is presumed to be 760 torr.

Simple Distillation of a Solution of Two Volatile Substances:

The behavior of a solution of two mutually soluble, volatile substances on distillation is described by the phase diagram of boiling point vs. liquid and vapor composition.  For any "normal" solution the vapor is always richer in the more volatile substance than is the liquid from which it is distilled.  Thus distillation may be used for at least partial separation of two liquids of different boiling points, i.e. of different volatilities.

The degree of separation obtained depends on the difference in boiling points of the two liquids.  If the two boiling points are nearly the same, little if any separation will be obtained.  When the difference in boiling points is less than 100oC, the process is not very effective and repeated distillations are necessary.  When the difference in boiling points is greater than 100oC, good separation is usually achieved.

Fractional Distillation of a Solution of Two Volatile Substances:

By partially condensing the vapor and returning it to the flask while maintaining good contact between the returning liquid and the upward moving vapor, as in a fractionation column, the  separation can be improved for liquids with boiling point differences less than 100oC. Each time equilibrium is established between two phases is equivalent to a new distillation: the number of times this is accomplished in a column is called its "number of theoretical plates". The actual separation achieved for any two liquids depends on the difference in boiling points, the length of the fractionation column and the type of column packing used.

Collection of Pure Fractions:  As a general "rule of thumb", fractions collected between five (5) oC below the literature boiling point of the pure liquid and five (5) oC above are considered to be "pure".  On the high temperature end of practical bench distillation, about 130oC, the low end is extended by five degrees. At the very limit, about 160oC, the low end is extended by ten degrees.

CALCULATIONS:

Determination of the Percent Recovery:  For each fraction collected during the distillation the percent recovery is calculated based on the original vlume of liquid mixture that was used:

%A = ml fraction A/ ml original volume used

Determination of the Efficiency of a Distillation:  The efficiency of a distillation is based on the amounts of pure liquids obtained from the distillation and is calculated using the following formula:

		Efficiency = ( %A +  %B ) / ( % A + % I + % B )

where A is the low boiling point pure liquid, I is the intermediate.  and B is the high boiling point pure liquid.

DIRECTIONS-SIMPLE DISTILLATION

In this experiment, simple distillations of three liquid mixtures, with three different boiling point separations, will be done.  The percent recoveries and the efficiency of each distillation will be determined.

General - all distillations: Before lab, determine the "rule of thumb" fractions that should be collected and record them in the Data Table.  If these overlap, no pure fractions can be collected and the entire volume is collected as Fraction I.

  The position of the mercury bulb of the thermometer is very important; the entire bulb should be immediately below the side arm so that the vapors must surround the bulb before passing into the condenser1.  Place one or two boiling chips in the flask (to promote even boiling and avoid "bumping").  Do not distill until there is no liquid left2.  

  During the distillation, check the distillation rate3.  If an acceptable distillation rate is not obtained, adjust the variac until an acceptable rate is obtained.  After the last fraction is collected, turn the distillation off and let cool before disassembling.  Empty all liquids into the appropriate “used” mixture container.

For Parts 1, 2 and 3, calculate the percent A, percent I and percent B obtained, based on the initial 50 ml mixture originally used.  Calculate the efficiency of the separation for each distillation.

Part 1: Ethanol and 2-Propanol

Use the 100 ml round bottom standard taper flask, matching still head, narrow condenser and adaptor to assemble a distillation apparatus (see sample set-up)4.  Add 50 ml of a 50:50 (by volume) mixture of ethanol and 2-propanol (isopropyl alcohol) and distill.  Record the "first drop" vapor temperature and the high temperature reached during distillation.  Measure and record the volume of the fraction collected.

Disassemble the distillation apparatus, placing the fraction collected and the liquid remaining the pot into the “used” ethanol and 2-propane container.

Part 2: Cyclohexane and Toluene

Using the same apparatus as Part 1, distill 50 ml of a 50:50 (by volume) mixture of cyclohexane(A) and toluene(B).  Note that the temperature changes throughout the distillation.  Collect three (3) fractions according to your calculated temperature ranges: (A, I, B) and measure the volume of each fraction.  The variac setting may need to be increased to keep the rate constant.  Record the "first drop" vapor temperature and the high temperature reached for each fraction.  To separate all of this mixture into even these impure A and B fractions would require repeated distillations of I (intermediate) fractions.  Disassemble the distillation apparatus, placing all the fractions collected and the liquid remaining in the pot in the “used” cyclohexane and toluene container.

Part 3: Acetone and Cyclohexanone

Using the same apparatus as Part 1, distill 50 ml of a 50:50 (by volume) mixture of acetone(A) and cyclohexanone(B).  Note that the temperature remains constant while acetone is distilling, then drops.  When the temperature drops 5o below your experimental high temperature for Fraction A, change receivers and increase the variac setting by 20.  Continue increasing the variac setting by 5 increments every 5 minutes until Fraction B starts to distill.  Collect three (3) fractions according to your calculated temperature ranges: (A, I, B) and measure the volume of each fraction.  Disassemble the distillation apparatus, placing all the fractions collected and the liquid remaining in the pot in the “used” acetone and cyclohexanone container.

LABORATORY NOTEBOOK PRE-WRITE UP:

Before this experiment may be started the following pre-write-up must be complete:

Introduction:  From experiment objectives

General Procedure: From experiment Directions (and notes)

Physical Constant Sheet: the names, CHP Numbers and Boiling points     for the six chemicals used

Chemical Hazards & Precautions Index: for six chemicals used

Data Table : set up and "rule of thumb" fractions to be collected entered

SAMPLE DATA TABLE

Part 1					Barr. Press., Torrs
											Date
		Volume used, ml		*

Fraction	Collect	Exp. BP Range oC	Volume	%	    Identified

From	To	  Low	High		  ml		Calc.    as

A       

  I       

  B       

Rate, Drops/min
Efficiency Calculated
_________________________________________________________________

Part 2 					Barr. Press., Torrs

Date
		Volume used, ml		*

Fraction	Collect	Exp. BP Range oC	Volume	%	 Identified

To  From  Low    High		ml		Calc.  as

A

  I

  B

Rate, Drops/min
Efficiency Calculated
_________________________________________________________________
Part 3					Barr. Press., Torrs
											Date
		Volume used, ml

A

I

B

Efficiency Calculated

* Each student will only do Part 1 or Part 2, therefore either the data in Part 1 or Part 2 will be obtained from another student.  On your Data Table for the Part 1 or 2 that another student did experimentally,indicate the name of the student the data was obtained from.

POST WRITE-UP ANALYSIS:

Part 1: by a comparison of the experimental boiling point range of the fraction collected and the literature boiling points of the two pure liquids, determine whether any separation was achieved;  from the percent recovery of fractions A and B, comment on the efficiency of the distillation.

Parts 2 and 3: by a comparison of the experimental boiling point ranges of the three fractions collected and the literature boiling points of the two pure liquids, determine whether any separation of pure liquids was achieved; from the percent recovery of fractions A and B, comment on the efficiency of this distillation.

In general, comment on the relative efficiency of separation by simple distillation as a function of the difference of the boiling points of the two liquids being distilled.

RESULTS:

Part 1: experimental boiling range for the fraction collected; literature boiling points for the pure liquids; the volume collected for fraction I; the percent recovered for the relevant pure liquids and the intermediate fraction; the efficiency of the distillation; the barometric pressure; and the distillation rate.

Parts 2 & 3: experimental boiling ranges for the three fractions; literature boiling points for the relevant pure liquids; the volumes collected for the three fractions; the percent recovered for the relevant pure liquids and the intermediate fraction; the efficiency of the distillation; the barometric pressure(s); and the distillation rate(s).

Also see "Laboratory Reports" in the General Information Sheet.

TOPICS FOR QUIZ 1

Procedures: rate of distillation; thermometer placement; "pot" size; use of boiling stones; stopping a distillation before dryness; criteria for good separation of liquids by distillation.

Factors which could cause: erroneous temperature readings; loss of material; poor separation of fractions; inaccurate collection of fractions.

NOTES:

1.   If a reflux ring is observed in the distillation head, the thermometer should be placed with the top of the bulb just below the reflux ring., instead of just below the side arm.

2.   It is not safe to heat a distillation flask when there is no liquid left.  Remove the heat just before the flask goes completely dry, usually when the boiling chips become visible through the foam.

3.   A reasonable rate of distillation is important - some 25 to 45 drops of condensate per minute is about right.  Too great a heat will cause flooding of the still head or additional heating of the vapors:  the latter prevents liquid-vapor equilibrium so that the temperature reading is not the boiling point.  Too small a heat results in intermittent distillation, with fluctuating and meaningless temperature readings.  However, even in the acceptable range speed of distillation is usually traded for lost efficiency.  If you have difficulty controlling your variac - heating mantle call for help.

4.   Be gentle in assembling apparatus with ground glass joints.  There is no flexibility.  Tighten clamps and holders gently.

Before putting ground glass joints together, grease inner member with a light film of "Lubriseal".  Use just enough so that the ground glass loses its frosted appearance: too thick a film will dissolve out and cause leaks.

It is safer to attach the rubber tubing to the condenser, and to insert the thermometer in the thermometer adaptor, before assembling the apparatus.  The cooling water should flow in the lower end, out the upper, of the condenser jacket; use a gentle flow of water.

Before distilling check to see that all the joints in your apparatus are tight: leaking vapors cause fires and loss of substance being distilled.  Use ST clips if joints are not tight.

TPS Revised 1/2019