## Slide 1: Introduction
Nuclear magnetic resonance spectroscopy (NMR) is the most powerful tool available for organic structure determination.
It is used to study a wide variety of nuclei:
  1H
  13C
  15N
  19F
  31P

## Slide 2: NMR Signals
The number of signals shows how many different kinds of protons are present.
The location of the signals shows how shielded or deshielded is the proton.
The intensity of the signal shows the number of protons of that type.
Signal splitting shows the number of protons on adjacent atoms.

## Slide 3: The NMR Graph
The more shielded methyl protons appear toward the right of the spectrum (higher field); the less shielded hydroxyl proton appears toward the left (lower field).
downfield
upfield

## Slide 4: Tetramethylsilane (TMS)
TMS is added to the sample as an internal standard.
Since silicon is less electronegative than carbon, TMS protons are highly shielded.
The TMS signal is defined as 0.00 ppm.
Organic protons absorb downfield (to the left) of the TMS signal.

## Slide 5: Variation of Chemical Shift

## Slide 6: Electronegative Atoms
More electronegative atoms deshield more and give larger shift values.
Additional electronegative atoms cause an increase in chemical shift.

## Slide 7: Location of Electronegative Atoms
The deshielding effect of an electronegative substituent drops off rapidly with distance.

## Slide 8: Typical Values

## Slide 9: Carboxylic Acid Proton
Because of the high polarity of the carboxylic acid O—H bond, the signal for the acidic proton will be at shifts greater than d 10.

## Slide 10: Number of Signals
Methyl tert-butyl ether has two types of protons, giving two NMR signals.
Chemically equivalent hydrogens have the same chemical shift. All the methyl groups of the tert-butyl group are equivalent and they produce only one signal.

## Slide 11: Intensity of Signals: Integration
The amount the integral trace rises is proportional to the area of that peak.
The integration will have a trace for the tert-butyl hydrogens that is three times as large as the trace for the methyl hydrogens. The relative area for methyl and tert-butyl hydrogens is 1:3.

## Slide 12: Spin-Spin Splitting
Nonequivalent protons on adjacent carbons have magnetic fields that may align with or oppose the external field.
This magnetic coupling causes the proton to absorb slightly downfield when the external field is reinforced and slightly upfield when the external field is opposed.
All possibilities exist, so the signal is split. This splitting of signals into multiplets is called spin-spin splitting.

## Slide 13: 1,1,2-Tribromoethane
Spin-spin splitting is a reciprocal property. If one proton splits another, the second proton must split the first.

## Slide 14: Doublet: One Adjacent Proton
Hb can feel the alignment of the adjacent proton Ha.
When Ha is aligned with the magnetic field, Hb will be deshielded.
When Ha is aligned against the magnetic field, Hb will be shielded.
The signal is split in two and is called a doublet.

## Slide 15: Triplet: Two Adjacent Protons
When both Hbs are aligned with the magnetic field, Ha will be deshielded.
When both Hbs are aligned against the magnetic field, Ha will be shielded.
It is more likely that one Hb will be aligned with the field and the other Hb against the field. The signal will be at its normal position.
The signal is split in three and is called a triplet.

## Slide 16: The N + 1 Rule
If a signal is split by N equivalent protons,
it is split into N + 1 peaks.

## Slide 17: Splitting for Ethyl Groups
The hydrogens on the CH3 are affected by the two neighboring hydrogens on the adjacent CH2 group. According to the N + 1 rule, the CH3 signal will be split into (2 + 1) = 3. This is a triplet.
The hydrogens on the CH2 group are affected by the three hydrogens on the adjacent CH3 groups. The N + 1 rule for the CH2 signal will be split into (3 + 1) = 4. This is called a quartet.

## Slide 18: Splitting for Isopropyl Groups
The hydrogen on the CH has six adjacent hydrogens. According to the N + 1 rule, the CH signal will be split into (6 + 1) = 7. This is called a septet.
The two CH3bs are equivalent, so they give the same signal. They have one adjacent hydrogen (CH), so their signal will be N + 1, 1 + 1 = 2 (doublet).

## Slide 19: Hydroxyl Proton in a Pure Sample
Ultrapure samples of ethanol show splitting.

## Slide 20: Hydroxyl Proton in an Impure Sample
Ethanol with a small amount of acidic or basic impurities will not show splitting.

## Slide 21: Carbon-13 NMR
Carbon-12 (12C) has no magnetic spin.
Carbon-13 (13C) has a magnetic spin, but is only 1% of the carbon in a sample.
The gyromagnetic ratio of 13C is one-fourth of that of 1H.
For carbon, a technique called Fourier transform spectroscopy is used.

## Slide 22: Fourier Transform NMR
A radio-frequency pulse is given.
Nuclei absorb energy and precess (spin) like little tops.
A complex signal is produced and then decays as the nuclei lose energy.
Free induction decay (FID) is converted to a spectrum.

## Slide 23: Carbon Chemical Shifts
Table of approximate chemical shifts values for 13C-NMR: Most of these values for a carbon atom are about 15–20 times the chemical shift of a proton if it were bonded to the carbon atom.

## Slide 24: Spin-Spin Splitting
It is unlikely that a 13C would be adjacent to another 13C, so splitting by carbon is negligible.
13C will magnetically couple with attached protons and adjacent protons.
These complex splitting patterns are difficult to interpret.

## Slide 25: Proton Spin Decoupling
To simplify the spectrum, protons are continuously irradiated with broadband “noise,” so they are rapidly flipping.
The carbon nuclei see an average of all the possible proton spin states.
Thus, each different kind of carbon gives a single, unsplit peak because carbon–hydrogen splitting was eliminated.

## Slide 26: Off-Resonance Decoupling 13C-NMR of 1,2,2-Trichloropropane
13C nuclei are split only by the protons attached directly to them.
The N + 1 rule applies: A carbon with N number of protons gives a signal with N + 1 peaks.

## Slide 27: Interpreting 13C NMR
The number of different signals indicates the number of different kinds of carbon.
The location (chemical shift) indicates the type of functional group.
The splitting pattern of an off-resonance, decoupled spectrum indicates the number of protons attached to the carbon.

## Slide 28: Two 13C NMR Spectra

## Slide 29: MRI Scan of a Human Brain
MRI scan of a human brain showing a metastatic tumor in one hemisphere